## Slide 1: AMP Technical Conference Mutual Aid April 28-29,2009
Host Community Responsibilities

## Slide 2: Host Responsibilities
Preparation for a Mutual Aid event will save communities restoration time and resources and provides risk reduction
Mutual aid is scalable for your community
Make mutual aid preparation part of your disaster plan & update every six months
Engage as many of your fellow co workers and departments as you can, they all will be needed

## Slide 3: Prepare before the mutual aid event
Establish relationships and protocols with local Service Organizations, Fire,EMS, Safety Forces, Red Cross, Salvation Army etc.. Communicate with these folks before, during and after an event.
Establish relationships and protocols with Hotels,Restaurants,Fueling Stations inside and outside of your service territory.
Designate chain of command leadership roles with interchangeable personnel contingencies
Planning ahead of time is a critical part of risk reduction and safety for your community

## Slide 4: Prepare before the mutual aid event
Establish multiple qualified employee’s who can asses the damage and make recommendations
Establish back up generation plan from partial to full requirements for your own customer service loads
Electric Warehouse,Customer Service Centers, City Hall, Fire and Safety Services, Communications Towers

## Slide 5: Prepare before the mutual aid event
Planning ahead of the event will allow you think out your work plan before you are over stressed
Their our long term benefits for preparing ahead of time and planning ahead provides for people to be productive from start to the finish of the event.
No single plan fits all utilities, use your experience and ask for help from those who have gone through disaster restorations for assistance

## Slide 6: Disaster Recovery Plan
Predetermine your Circuits restoration priority based on characteristics of Circuits
Factors to consider
:Hospitals, Emergency Care Units
:Community Critical Services
:Safety Services
:Water/Waste Water Services/Lift Stations
: Communications Services/Cell Towers
: Schools/Business Districts/Industrial Areas

## Slide 7: Disaster Recovery Circuit Ranking
Circuit | Customers | Restore Ranking | Critical Load Info
Sterling | 1149 | 1 | Hospital, Lift Stations
Red Rock | 1183 | 2 | Water Towers
Broad | 1223 | 3 | Water Plant Electric W.
National Metals | 1101 | 4 | Assisted Care,wwtp

## Slide 8: Disaster Recovery Plan
Updated Circuit Maps
Updated Land base Maps
Updated Contact Numbers for all employees and emergency contacts outside of community
Pre plan key disconnect locations for partial restoration of damaged circuits
Updated Substation loading characteristics and capacity limits

## Slide 9: Disaster Recovery Plan
Be proactive in the assessment
Plan how/who in your community is going to Assess the damage
Use qualified employees for the best information
Record information accurately, preferably in a manageable data base that can be recalled and viewed by many. This information will needed when you fill out your OEMA or FEMA forms
Pre Plan how you will record call information from customers and those who our assessing damage.
Plan / Train for assistance in the call centers, Point of Contacts
Provide training for those who be answering phone calls that our assisting, script questions for those who are not electrically trained
Good information will come from the public when they our asked good observation questions.

## Slide 10: Assessment ,Operations, Logistics Parallel Paths
At the beginning of the recovery efforts the total assessment of the damages is critical to the success of recovery
At the beginning of recovery their should as many employee’s working on the damage assessment as there are working on the restoration of service
The assessment of damages is the key to your community making the decisions on the mutual aid
Communities need to forecast their manpower and equipment resources to the assessment and amount of damages
The assessment helps you determine what kind of mutual aid crews you need and materials that you should request they bring
Taking the necessary steps of your preplanning will help you on knowing how many customers you have without service and your decision on mutual aid request easier and more clear
Don’t wait to long to make your decision!

## Slide 11: Disaster Recovery Operations- Mutual Aid Crews
Once decision has been made to call for mutual aid, know what you want in make up of crews and materials needed.
Let Coordinator know if you need additional help other than line crews for setup and coordination or additional assessment.
Let Coordinator and Amp know if your interconnection is out of service so that can be investigated / coordinated
Crews sizes and make up will be decided by what you want them to do.
The amount of crews you request should match the size of your event and the amount of available qualified personnel than can be coordinated safely (Bird Dogs)
Digger Derrick crews, Bucket Trucks crews, material handlers, Service drop crews, etc., know what you want, if this is an extended stay this will change as the event moves along
Estimate the length of stay so visiting crews know how to pack and plan. Longer events will require crew rotations

## Slide 12: Disaster Recovery Checking the Mutual Aid Crews in
Obtain their classifications and contact information, cell phone numbers, any work rules that they may have different from yours
Provide them with a list of contact information from your organization and a qualified employee( bird dog )
Provide them with a road map of your area, highlight the key emergency services and their phone numbers

## Slide 13: Disaster Recovery
Communicate with all crews on a preplanned basis of progress of event,keep your bird dogs in the know. Coordinate work!
Update crews on how long you estimate that they our going to be their
Let Mutual aid crews know where their hotels and restaurants are located and how the logistics work
Communicate back to your coordinators, so that they can help you with any additional resources needed

## Slide 14: Disaster Recovery Logistics
Keep track of work locations and restoration times and materials used this will aid you in your after storm assessments and OMEA/FEMA work
Having a plan for mutual aid and mutual crews ahead of time can save days of outage time and permit those crews to work at other mutual aid request communities if needed.
Communicating through out the event to all departments, mutual aid crews and public will assist through out the process

## Slide 15: Mutual Aid / What works
Pre Planning provides for your strategy to work be prepared to improvise your plan as conditions change
Thorough and timely assessment of damages
A clear chain of command throughout the event
Qualified employees assisting the mutual aid crews
Breaking up your own qualified crews to be bird dogs, 5 employees can become 5 crews or more, consider options in this area

## Slide 16: Mutual Aid / What works
Having hotels and restaurants ready for visiting and host crews
Keeping a good storm stock of inventory/ high use inventory should be noted
Communication back with the visiting crews Superintendent / Communities
Being prepared to rotate mutual aid crews and the make up of crews as needed
Have mutual aid crews bring equipment and materials to match your needs

## Slide 17: Mutual Aid / What works
Controlling the event with planning,communications,logistics and a even keel
Planning your workdays, generally 16 hr shifts and 8 rest hours periods, shift rotations
Having your host crews do the night work, good time to set poles for the next day and setup materials for other parts of the restoration
Having a employee that is a runner for what ever is needed for stock etc.

## Slide 18: Mutual Aid / What works
Coordinating Tree Crews
Treating visiting mutual aid crews they way you expect your crews to be treated
Having the public be able talk to someone on the phone from the start to the finish of the event
Trained office, customer service folks to gather good information that can readily be accessed by those who need to see it

## Slide 19: Amp Mutual Aid Sector Coordinator List
Red- Bill Lambert, Wapakoneta
Blue-Greg Orians,Carey
Green-Kenny McKenzie, Westerville
Black - Ed Eschenbrenner,Hamilton
Purple/Brown Jim Haeslar,Schullykillhaven
Gold –Gene Post ,Wadsworth
Amp Member Directory has mutual aid information and phone numbers

## Slide 20: Host Responsibilities To do list
Make sure your mutual aid AMP agreement have been signed
Sign FEMA agreement
FEMA agreement can be viewed and downloaded @ the APPA web site appanet.org , which includes a state by state listing
Know who your Sector Coordinator is